## Info
Information on the ABA-Standard spreadsheet
Purpose: | Calculation of ABA concentration in crude tissue extracts from ELISA results
How to do it: | 1.) Make a copy of the ABA-Standard spreadsheet:
2.) choose the template depending on your sample type
3.) Enter the date, title and additional Info in the respective fields on top of the sheet
4.) enter your sample description in the sample distribution table
5.) enter the extinction values from the ELISA reader in the extinction table
6.) correct for outliers or other problems in the correction table
7.) if you work on crude extracts:
a) enter the extraction volume and the weigh in of fresh/dry weight for the extraction
b) enter the dilution factor for the extract
8.) if you work on xylem sap:
the worksheet assumes you used 100µl of sample and calculates the concentration in pmol/ml
9.) save the file
10.) print the results or copy to another spreadsheet for further calculations
Comments:
This spreadsheet was made for standard purposes only. If nothing has to be changed you will only be allowed to modify cells that are not automatically calculated. If you need to change a formula, for example to use a different range of calibration values, you have to unprotect the spreadsheet. It is strongly recommended NOT to unprotect the ABA-Standard sheet. Do the following ONLY to a COPY. To unprotect the spreadsheet you choose from the menu "Tools/protection/unprotect". You will be asked to provide a password. The password is "abaminuta". Once you entered the password you are allowed to modify any cell in the sheet. Be careful in doing so, as most of the cells depend on each other. The Orientation-Buttons added to the sheet are macro-programmed. That means for example if you insert lines or columns into the sheet they will not jump to the assigned position anymore. Start any new ELISA calculation always from the ABA-Standard sheet. If you modify values in the correction table new extinction values will not be copied automatically into the correction table anymore. This works only once per sheet. If there are questions or problems with this sheet, do not hesitate to contact me at FA@kvl.dk.

## ABA-crude (hidden)
Calculation sheet for ABA ELISA micro titer plates
Date: |  |  |  | Sample type: |  | 2
Title:
Info:
sample distribution
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | B+ | B+ | B+
B | B- | B- | B-
C | 4000 | 4000 | 4000
D | 2000 | 2000 | 2000
E | 1000 | 1000 | 1000
F | 500 | 500 | 500
G | 250 | 250 | 250
H | 125 | 125 | 125
Extinction measurements
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
corrected readings
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
calculation of Bmax
| Rep 1 | Rep 2 | Rep 3 | mean | SE
Bmax | 0 | 0 | 0 | 0 | 0
Bmin | 0 | 0 | 0 | 0 | 0
Bmax corrected: |  |  |  | 0
calculation of calibration curve
pg/uL | Rep 1 | Rep 2 | Rep 3 | mean | SE |  | %B/B+ | Logit (Y) | X | Predict pg/100uL
4000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3.6021 | #DIV/0!
2000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3.301 | #DIV/0!
1000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3 | #DIV/0!
500 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.699 | #DIV/0!
250 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.3979 | #DIV/0!
125 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.0969 | #DIV/0!
Regression analyses (y= ax+b)
Coefficient (r2): |  | #DIV/0!
X coeffiecient (a): |  | #VALUE!
Intercept (b): |  | #DIV/0!
SE predict.: |  | #DIV/0!
ABA content in the samples
Sample | Rep 1 | Rep 2 | Rep 3 | mean | SE |  | %B/B+ | Logit (Y) | log conc. | extract. vol | ng/ sample | fresh weight | dilution factor | ng/ g FW | Se
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | 1 | #DIV/0! | #DIV/0!
Note on A21: Extinction values measured at 405 nm. Enter the readings here. If needed change values in the Table below.
Note on B12: insert values in pg/100uL
Note on F74: if SE is greater than 20% of mean, value appears in red
Note on J74: log of conc. in samples calculated from regression as x=(y-b)/a
Note on M74: fresh weight or dry weight of extraction input in g
Note on N74: if the extract was diluted, enter here the multiplier for final calculation. Enter a 1 if not diluted.
Note on K74: Volume used for extraction in ml
Note on L74: Values are calculated as: 10^log.conc (reading picogram per 100ul from calibration)/1000 (correction for nanogram *extraction volume*10 (correction factor for 100ul to ml)
Note on A33: this is a copy of the extinction table, here outliers can be corrected. This table is used for the calculations.Values outside the calibration curve appear on yellow background.
Note on C66: By default, the linear regression uses all points from the dilution sequence. If a point has to be omitted, change the range in the formulars of these four cells.
Note on O74: value in ng per g fresh or dry weight
Note on P74: Standard error of mean. Calculated as stdev/sqrt(n-1). Dimension: ng/gFW

## ABA-xylem (hidden)
Calculation sheet for ABA ELISA micro titer plates
Date: |  |  |  | Sample type: |  | 2
Title:
Info:
sample distribution
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | B+ | B+ | B+
B | B- | B- | B-
C | 4000 | 4000 | 4000
D | 2000 | 2000 | 2000
E | 1000 | 1000 | 1000
F | 500 | 500 | 500
G | 250 | 250 | 250
H | 125 | 125 | 125
Extinction measurements
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H
corrected readings
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
calculation of Bmax
| Rep 1 | Rep 2 | Rep 3 | mean | SE
Bmax | 0 | 0 | 0 | 0 | 0
Bmin | 0 | 0 | 0 | 0 | 0
Bmax corrected: |  |  |  | 0
calculation of calibration curve
pg/uL | Rep 1 | Rep 2 | Rep 3 | mean | SE |  | %B/B+ | Logit (Y) | X | Predict pg/100uL
4000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3.6021 | #DIV/0!
2000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3.301 | #DIV/0!
1000 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 3 | #DIV/0!
500 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.699 | #DIV/0!
250 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.3979 | #DIV/0!
125 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | 2.0969 | #DIV/0!
Regression analyses (y= ax+b)
Coefficient (r2): |  | #DIV/0!
X coeffiecient (a): |  | #VALUE!
Intercept (b): |  | #DIV/0!
SE predict.: |  | #DIV/0!
ABA content in the samples
Sample | Rep 1 | Rep 2 | Rep 3 | mean | ST Dev |  | %B/B+ | Logit (Y) | log conc. | sample vol | dilution | pmol / ml | SE
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
0 | 0 | 0 | 0 | 0 | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! | 100 | 1 | #DIV/0! | #DIV/0!
Note on A21: Extinction values measured at 405 nm. Enter the readings here. If needed change values in the Table below.
Note on B12: insert values in pg/100uL
Note on F75: if standard deviation is greater than 20% of mean, value appears in red
Note on J75: log of conc. in samples calculated from regression as x=(y-b)/a
Note on K75: Volume of the sample on the plate. Default is 100µl.
Note on M75: Values are calculated as: 10^log.conc (reading picogram per 100ul from calibration)/1000 (correction for nanogram *extraction volume*10 (correction factor for 100ul to ml)
Note on A33: this is a copy of the extinction table, here outliers can be corrected. This table is used for the calculations.Values outside the calibration curve appear on yellow background.
Note on C66: By default, the linear regression uses all points from the dilution sequence. If a point has to be omitted, change the range in the formulars of these four cells.
Note on N75: Standard error of mean. Calculated as stdev/sqrt(n-1). Dimension: pmol/ml
Note on L75: Enter the dilution factor if other than 1 (for un-diluted samples)